SITE SPECIFIC RECOMMENDATIONS

WEST	REGION:	West District

LOCATION		Trimbee Park															Ward 27

| INVENTORY # | BUILT | DEFICIENCIES | RECOMMENDATIONS | COST ESTIMATE |  |  | OTHER |
| --- | --- | --- | --- | --- | --- | --- | --- |
| DESCRIPTION |  |  |  | REPAIRS | LABOUR | BASE | CONSIDERATIONS |
| PLG01SSM |  | -improper spacing | -remove two belt, adjust spacing |  | 1 |  |  |
| 2 Belt, 2 Baby |  | -improper hangers | -replace | 50 | 2 |  |  |
|  |  | -S-hooks | -replace | 10 | 1 |  |  |
|  |  | -non sufficient safety zone |  |  |  |  |  |
| PLG02SRM |  | -<15” opening to fireman pole | -install 6 pickets | 50 | 2 |  |  |
| Sr. Cr. Structure |  | -straight slide not up to standard | -remove and replace | 2500 | 8 |  |  |
|  |  | -short slide not up to standard | -remove and replace | 2500 | 8 |  |  |
|  |  | -beam ramp not up to standard | -remove and replace | 500 | 8 |  |  |
|  |  | -entrapment between platform | -install plywood | 20 | 1 |  |  |
|  |  | -no hand grasp on ladder | -install bar | 20 | 1 |  |  |
| PLG03MBR |  | -not up to standard | -remove |  | 4 |  |  |
| Monkey Bar |  |  |  |  |  |  |  |
| Base Material |  | -compacted | -rototill, add base 8T |  | 8 | 120 |  |
|  |  | -non sufficient safety zone | -excavate |  | 16 | 1000 |  |
| TOTAL COST |  |  |  | 5650 | 60 | 1120 |  |

File Name: K:\PLAY\ETOBI\SOUTH\WARD27\TRIMBEE