## WAL
City of Toronto Arenas
South District
Wallace Emerson AIR
Savings by Measure
Description | Total | Savings by Measure | [12 empty] | Total | Simple
| Cost | Natural Gas |  | Electrical Consumption |  |  |  | Electrical Demand |  |  |  | Water Consumption |  | Other | Savings | Payback
| ($) | cu-m | $ | kWh w/ Demand | $ | kWh w/o Demand | $ | kW | $ | kVA | $ | cu-m | $ | $ | $ | (years)
LIGHTING MEASURES | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
Exterior Lighting | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
Exit Signs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
Redesign | 8850.0202 | -289.5025 | -118.696 | 17980.7321 | 1216.0369 | 0 | 0 | 26.0352 | 104.1408 | 27.4055 | 109.6219 | 0 | 0 | 0 | 1311.1036 | 6.7501
Retrofit | 30855.2266 | -372.0277 | -152.5314 | 23106.293 | 1562.6786 | 0 | 0 | 56.577 | 226.308 | 59.5547 | 238.2189 | 0 | 0 | 0 | 1874.6742 | 16.459
Sensors | 13066.2251 | -73.8417 | -30.2751 | 4586.2401 | 310.1674 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 279.8923 | 46.683
HID Dimming Controls | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
WATER MEASURES | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
Water efficient flush valve toilet | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
Water efficient tank toilet | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
Water efficient urinal flush valve | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
Water efficient shower head | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
Water efficient faucet aerators | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
Zamboni Fill Nozzle | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
CONTROLS MEASURES | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
BAS - Standard Arena | 11852.7056 | 0 | 0 | 14147.4 | 956.7887 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 956.7887 | 12.388
BAS - Community Centre | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
BAS - Natatorium/Recreation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
BAS - Ventilation Zoning Isolation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
BAS - Optimization/Modifications to existing systems | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
BUILDING INSULATION AND ENVELOPE MEASURES | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
Air Sealing Program | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
Header Insulation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
Low 'E' Ceiling | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
Piping Insulation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
MECHANICAL MEASURES | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
High Efficiency Equipment Installation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
Heat Recovery | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
Energy Source Conversion | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
Compressor Cooling - Closed loop system | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
OTHER MEASURES | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
VendMiser | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
Power Factor Correction | 19281.7181 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 373.16 | 1492.64 | 0 | 0 | 0 | 1492.64 | 12.9179
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A
Total | 83905.8956 | -735.372 | -301.5025 | 59820.6652 | 4045.6716 | 0 | 0 | 82.6122 | 330.4488 | 460.1202 | 1840.4808 | 0 | 0 | 0 | 5915.0987 | 14.185
Measures Not Inlcuded in the Project
WATER MEASURES
Water efficient flush valve toilet | 9441.8791 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 458.0297 | 595.4386 | 0 | 595.4386 | 15.857
OTHER MEASURES
VendMiser | 877.2304 | 0 | 0 | 2496 | 168.8045 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 168.8045 | 5.1967